## Project List
Data for Future Local Projects
Agency | Water Type | Project Name | Status | Estimated Start of Operation | Ultimate Yield (AFY) | Average Production (AFY) | Project Use | Estimated Capital Cost (Total in 2015 Dollars) | Estimated Annual O&M Costs (2015 Dollars per year) | Describe what is included in costs (if $ amount is not available, please indicate "yes" or "no" | [6 empty] | Project Description | Comments
| GW Recovery/ Recycled Water/ Seawater Desalination/ Stormwater |  | Construction/ Full Design/ Planning (EIR/ EIS Certified)/ Feasibility/ Conceptual |  |  |  | Direct potable/ Indirect potable/ Non-potable |  |  | Contingency ($) | Engineering/ Legal/ Admin Fees ($) | Integration/ Delivery Infrastructure ($) | Design ($) | Land Acquisition ($) | Environmental ($) | O&M Product water delivery costs ($/yr)
Project Proponent |  | Full project name |  | Online date | If part of a phased project, provide the yield for the phased portion only | Typically 85% utilization factor for NPR; 90% factor for all other resource types. Includes shutdowns, demands, etc. (does not include start-up) Stormwater: base on average capture and include losses | Example: Stormwater recharge = Indirect Potable | Do not include finance costs | Include product water delivery costs | Typically 30% | Typically 20% |  |  | If applicable |  | Include O&M costs for treatment and delivery to the existing distribution facility. Example: Include cost to pump and treat infiltrated stormwater/recycled water
City of Los Angeles | GW Recovery | Tujunga Well Treatment | Advanced Planning (EIR/EIS Certified) | 2015 | 24000 | 21600 | Direct Potable | 184136000 | 16878226.378 | ? | ? | ? | ? | ? | ? | ? | NEED
City of Los Angeles | Stormwater | Big Tujunga Dam Sediment Removal | Under Construction | 2015-2019 | 2730 | 2457 | Indirect Potable | 35442000 | 546000 | ? | ? | ? | ? | ? | ? | ? | NEED | O&M Cost includes $200/AF pumping + treatment cost
City of Los Angeles | Stormwater | Boulevard Pit Stormwater Capture Project | Conceptual | 2020 | 9760 | 8784 | Indirect Potable | 118140000 | 3348200 | ? | ? | ? | ? | ? | ? | ? | NEED | O&M Cost includes $200/AF pumping + treatment cost
City of Los Angeles | Stormwater | Bull Creek diversion-Rubber dam and pipeline | Design | 2020 | 500 | 450 | Indirect Potable | 7738384.8 | 153700 | ? | ? | ? | ? | ? | ? | ? | NEED | O&M Cost includes $200/AF pumping + treatment cost
City of Los Angeles | Stormwater | Burbank Boulevard BMP | Under Construction | 2016-2021 | 53 | 47.7 | Indirect Potable | 8914200 | 10600 | ? | ? | ? | ? | ? | ? | ? | NEED | O&M Cost includes $200/AF pumping + treatment cost
City of Los Angeles | Stormwater | Canterbury Power Line Easement | Conceptual | 2016-2018 | 1470 | 1323 | Indirect Potable | 17721000 | 294000 | ? | ? | ? | ? | ? | ? | ? | NEED | O&M Cost includes $200/AF pumping + treatment cost
City of Los Angeles | Stormwater | Lower Los Angeles River Area Linear Water Storage Feasibility Study | Feasibility | 2020 | 1000 | 900 | Indirect Potable | 17184000 | 361100 | ? | ? | ? | ? | ? | ? | ? | NEED | O&M Cost includes $200/AF pumping + treatment cost
City of Los Angeles | Stormwater | Mission Hills Green Belt | Conceptual | 2020 | 100 | 90 | Indirect Potable | 5370000 | 89810 | ? | ? | ? | ? | ? | ? | ? | NEED | O&M Cost includes $200/AF pumping + treatment cost
City of Los Angeles | Stormwater | Old Pacoima Wash | Design | 2020-2022 | 500 | 450 | Indirect Potable | 25776000 | 100000 | ? | ? | ? | ? | ? | ? | ? | NEED | O&M Cost includes $200/AF pumping + treatment cost
City of Los Angeles | Stormwater | Pacoima Dam Sediment Removal | Design | 2015-2021 | 3224 | 2901.6 | Indirect Potable | 91290000 | 644800 | ? | ? | ? | ? | ? | ? | ? | NEED | O&M Cost includes $200/AF pumping + treatment cost
City of Los Angeles | Stormwater | Sheldon Pit | Conceptual | 2020 | 7000 | 6300 | Indirect Potable | 80550000 | 2796200 | ? | ? | ? | ? | ? | ? | ? | NEED | O&M Cost includes $200/AF pumping + treatment cost
City of Los Angeles | Stormwater | Sun Valley Parking Lot Infiltration | Conceptual | 2020-2021 | 80 | 72 | Indirect Potable | 5907000 | 16000 | ? | ? | ? | ? | ? | ? | ? | NEED | O&M Cost includes $200/AF pumping + treatment cost
City of Los Angeles | Stormwater | Van Norman Stormwater Capture | Conceptual | 2019-2021 | 4200 | 3780 | Indirect Potable | 10740000 | 840000 | ? | ? | ? | ? | ? | ? | ? | NEED | O&M Cost includes $200/AF pumping + treatment cost
City of Los Angeles | Recycled | Harbor Industrial Recycled Water Project | Under Construction | 2015 | 9300 | NEED | Non-potable | 109877635.5012 | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
City of Los Angeles | Recycled | Griffith Park and MCA/Universal/South Griffith Park Recycled Water Project | Under Construction | 2015 | 370 | NEED | Non-potable | 15071641 | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
City of Los Angeles | Recycled | North Atwater Area Water Recycling Project | Under Construction | 2015 | 50 | NEED | Non-potable | 2686726 | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
City of Los Angeles | Recycled | Elysian Park Tank & Pumping Station Water Recycling Project | Feasibility | 2022 | 400 | NEED | Non-potable | 6908032.3754 | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
City of Los Angeles | Recycled | Garber Street Tank Water Recycling Project | Feasibility | 2018 | 500 | NEED | Non-potable | NEED | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
City of Los Angeles | Recycled | LA Zoo Water Recycling Project | Feasibility | 2017 | 85 | NEED | Non-potable | NEED | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
City of Los Angeles | Recycled | LAX Cooling Towers | Feasibility | 2021 | 240 | NEED | Non-potable | NEED | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
City of Los Angeles | Recycled | Los Angeles Greenbelt Project/Los Angeles Greenbelt Project Extension | Feasibility | 2018 | 250 | NEED | Non-potable | NEED | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
City of Los Angeles | Recycled | Los Angeles Groundwater Replenishment Project (Tillman) | Feasibility | 2024 | 30000 | NEED | Indirect Potable | NEED | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
City of Los Angeles | Recycled | Water Recycling Small Pipeline Extension Projects | Feasibility | 2015 | 1000 | NEED | Non-potable | NEED | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
City of Los Angeles | Recycled | Sepulveda Basin Water Reclamation Project/Sepulveda Basin Water Recycling Project Phase IV Expansion | Advanced Planning (EIR/EIS Certified) | 2017 | 250 | NEED | Non-potable | NEED | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
City of Los Angeles | Recycled | North Hollywood Water Recycling Project | Full Design & Appropriated Funds | 2016 | NEED | NEED | Non-potable | 34067888 | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
City of Los Angeles | Recycled | Downtown Water Recycling Project | Planning | 2020 | 2350 | NEED | Non-potable | NEED | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
City of Los Angeles | Recycled | Terminal Island Expansion Project | Design | 2018 | 7880 | NEED | Non-potable | 85900000 | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
City of Los Angeles | Recycled | Encino Reservoir Recycled Water Storage Concept | Conceptual | NEED | 1550 | NEED | Non-potable | NEED | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
City of Los Angeles | Recycled | Natural Advanced Treatment Concept | Conceptual | 2017 | 19000 | NEED | Indirect Potable | NEED | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
City of Los Angeles | Recycled | Harbor Area Water Recycling Expansion and Storage | Conceptual | 2022 | 12220 | NEED | Non-potable | 150000000 | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
City of Los Angeles | Recycled | San Pedro Waterfront Water Recycling Project | Feasibility | 2022 | 100 | NEED | Non-potable | 4270000 | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
City of Los Angeles | Recycled | Woodland Hills Water Recycling Project | Feasibility | 2019 | 290 | NEED | Non-potable | NEED | NEED | ? | ? | ? | ? | ? | ? | ? | NEED
Note on E58: Ti,Mike N: 6/19/2015 Need to update online date that corresponds with status.
Note on E69: Ti,Mike N: 6/19/2015 Need to update online date that corresponds with status.
Note on F77: based on 30 MGD
Note on C148: MCG: Not sure what this is.
Note on C149: MCG: Not sure what this is